## Slide 1: RVAS Images Classification
Yesica Lopez
Asna Shafiq
Jonathan So
Vicram Uppal

## Slide 2: Overview
Background
Summary of Project Goal
Data Preparation
Classification Models
  K Nearest Neighbours
  Support Vector Machine
  Random Forest
Model Comparison
Conclusion & Lessons Learned

## Slide 3: Background
The Meteorological Service of Canada (MSC) of Environment Canada collects weather and climate data across Canada to provide authoritative information used to make health and safety decisions.
To ensure the reliability of these sensor measurements, cameras were set up at remote unmanned stations to capture images of the sensors to detect anomalies in the data and for continued maintenance of the station
When anomalies are detected in the data, technicians visually inspect the images to manually verify the proper operation of weather stations and ensure that the collected data is accurate
However, as there are hundreds of images being generated by each station every day, this leads to increased workload for staff

## Slide 4: What is an RVAS image?
Remote Video Acquisition System
Typical images are 1080x800 pixels
Stations transmit between 1-4 images per hour
The cameras' field of view varies greatly: capturing the full compound vs pointed at a specific sensor
VOC
VRA
VKC

## Slide 5: What does an observation from the site looks like?
Typical sensor will be reporting Snow On Ground (SOG) value, in addition to Temperature, Wind, Relative Humidity and Precipitation.

## Slide 6: Objective
Build an automated image processing system that flags any abnormal site conditions
  Abnormal condition is when a reported observation does not match the site condition captured by the camera
For this project, we are focusing on Snow On Ground value, and classifying the images into “Snow” or “Clear”

## Slide 7: Snow on ground sensor
A typical automatic snow sensor measures the changing distance between the sensor and the platform
This can lead to many potentially erroneous reporting. Such as animals sleeping on the platform or snow blown off the platform due to high wind

## Slide 8: Data preparation

## Slide 9: Data preparation for the RVAS images
The dataset used are images from February 2021, taken at the top of the hour for 50 stations across Canada
The images were resized from 1080x800 to 50x50
The resized RGB images were transformed from a 3D array 50x50x3 into a 1D array of 7500 values between 0-255

## Slide 10: Data preparation (Labeling)
The target label was generated by matching the weather observation from the time of the image and inspecting the Snow On Ground value
With the limited time we only used the Snow on Ground value from the observations to label the images
The target labels was assigned based on the following rules:
  'snow' if snow depth was > 1cm
  'clear' if snow depth was < 1cm
  'msng' if snow depth value was not available
Due the potential inaccuracy of the measuring method this introduced inconsistencies to our model

## Slide 11: Data preparation (Removing images)
Images with 'msng' label were removed
Images that are too dark for processing were removed from the dataset
  The overall mean value of the pixels was used to identify images that are too dark for processing
  Each pixel value ranges from 0-255. Black has a value of 0, so a low mean value implies a very dark image
  Any images with a mean value <= 50 were removed
    This threshold was picked based on sampling images at a 5-point interval until the images did not look completely black

## Slide 12: Data Summary
Summary of our dataset
  Total images (38601)
  Images with MSNG labels (2986)
  Images that are too dark for processing (9053)
  Images used for training (26562)
  Images with 'Snow' 17117 (~65%)
  Images with 'Clear' 9385 (~35%)

## Slide 13: Split train-test data
The data was split 80-20 between train and test
One station (WJR) was excluded from the training/test dataset so we could use it solely for testing knowing no images from that station were used for modelling
  This would be representative of any future stations being predicted with the already built model

## Slide 14: Sample Resized Images

## Slide 15: Example of issues with the image dataset
This image was labeled as 'snow' since the sensor reported a snow depth of 1.033554 cm
Majority of the image does not have any snow
The area that the snow sensor is measuring is outside of the image
Snow sensor is located here

## Slide 16: Example of issues with the image dataset
This image was labeled 'clear' as the sensor reported 0.917999 cm
There is visible snow on the ground for most of the image
The area that the snow sensor is measuring is outside of the image so we can't see how much snow is on the platform
Snow sensor is located here

## Slide 17: Camera location in relation to the sensor
The Camera positions varies for each station
  Some stations have the camera pointing at the sensors
  Others are pointing away from the sensors
  The images may not always reflect the snow condition on the platform
  Wind could have blown off the platform or there could be ice accretion on the platform which could also affect the automatic sensor

## Slide 18: Model Building

## Slide 19: Development Environment
The resizing and labelling was done locally via python scripts
The final processed images were uploaded to a GitHub repo that Google Collab can pull from
Model training and testing was done using the Google Collab platform

## Slide 20: Aside – Storing Models
Google Colab disconnects are not fun :(
Being able to save/dump your trained model to a file to reload after in no time is the best
  from joblib import dump, load dump(my_model, 'my_model.joblib') my_model = load('resources/trained_models/my_model.joblib')

## Slide 21: Classification Models
We evaluated 3 different supervised classification algorithms
  K-Nearest Neighbours
  Support Vector Machines (SVM)
  Decision Trees – Random Forest

## Slide 22: Dimensionality Reduction - PCA
Dealing with RGB images 50x50 meant we had 7500 features (a lot!)
Ran Principal Component Analysis (PCA) to find the components that would retain 95% of the dataset's variance
This resulted in a reduction from 7500 -> 35 features!
  [0.43130397 0.19888944 0.07839172 … ]

## Slide 23: PCA – Visualization Aside
Ran PCA with n_components=2 in order to try visualizing the data (which we couldn't do at the higher dimensions)
The 2 principal components accounted for 62% of the variance in the dataset

## Slide 24: K-Nearest neighbours

## Slide 25: K-Nearest Neighbours
Instance-based
  Stores instances of the training data instead of creating a general model
  Classification is computed from a simple majority vote of the k nearest neighbors of a query instance
Parameters
  k – the number of neighbours
  Weights – uniform, distance, or custom
Pipeline: PCA followed by KNeighborsClassifier(k)
  GridSearch ran to find the optimal k

## Slide 26: KNN Tuning - Grid Search
We decided to use the default 'uniform' weights function
Ran GridSearch to find the optimal k value between [3, 5, 10]
  With 3 Cross Validation splits
rank | k | mean_fit_time | mean_score_time | mean_test_score
1 | 3 | 500.526219 | 1.326943 | 0.973175
2 | 5 | 505.309794 | 1.664336 | 0.970493
3 | 10 | 494.674558 | 1.785808 | 0.963481

## Slide 27: KNN Testing
The training and test data scores were very high, as the model was trained with images from all the stations being scored
  Guaranteed there were similar instances stored to compare against
  Train score 0.987246458656878 Test score 0.9774138904573687
Testing with a station (WJR) that the model never trained on resulted in much poorer results*
  Test WJR score 0.6401673640167364
  * more on the reasons why later

## Slide 28: Support Vector Machines

## Slide 29: Support Vector Machines (SVM)
Data can be transformed into n dimensions
Parameters:
  Kernel: Determines how many dimensions data is projected into
  C: Determines if the model is learning or memorizing
  Gamma: Determines the influence of a single training point
Pipeline: StandardScalar followed by PCA and SVC(C, gamma)
  The algorithms in scikit-learn are sensitive to scaling, so it is recommended to scale the data
  GridSearch ran to find the optimal C and gamma

## Slide 30: SVM: Kernel
Kernels to choose from:
  Radial Basis Function (RBF): data projected in infinite dimensions
  Polynomial: data projected in degree dimensions
  Linear: data is linearly separable
RBF was chosen as the estimator
Why may this be the case?
  Snow in images would not always be linearly separable

## Slide 31: SVM: C (Regularization parameter)
Values to choose from:
  Strictly positive - [0.1, 10] - [small, large]
10 was chosen by GridSearch
Why may this be the case?
  The low C of 0.1 would likely be too simple of a model to classify without huge number of inaccuracies

## Slide 32: SVM: Gamma (Kernel coefficient)
Values to choose from:
  Strictly positive - [0.1, 1] - [small, large]
0.1 was chosen by GridSearch
Why may this be the case?
  The larger gamma of 1 means that the radius of each training point is small
  Snow might be in large patches, sides of the image, flurries over the entire image

## Slide 33: SVM Testing
Train and test had similar performance because all the stations in the training data were seen
WJR was an unseen station and it performed worse on that

## Slide 34: Random Forest – Decision Tree

## Slide 35: Random Forest – Decision Trees
A supervised learning algorithm that fits multiple decision tree classifiers and uses averaging to improve the predictive accuracy and control over-fitting.
Parameters:
  n_estimators – number of trees in the forest
  max_features – number of features to consider for the best split
  max_depth – maximum depth of each tree
  criterion – function to measure the quality of a split
Our Pipeline: PCA followed by RandomForestClassifier()
  Grid Search ran to find an optimal set of parameters

## Slide 36: Random Forest Tuning - Grid Search
Ran Grid Search to find an optimal set of parameter values
Cross validation splits: 3
Parameter grid used:
  n_estimators: 50, 100, 250
  max_features: auto, log2
  max_depth: 5, 10, 25
  criterion: gini, entropy
Grid Search took ~12-14 hours to run all parameter permutations
Optimal parameters found:
  n_estimators: 250
  max_features: auto
  max_depth: 25
  criterion: entropy

## Slide 37: Random Forest Testing
Train and test had similar/high performance because all the stations in the training data were seen
  Train score: 0.99614099487
  Test score: 0.99604743083
Data from station WJR was never used in the initial train/test of the model and had performed worse*
  Test WJR score: 0.60460251046
*more on the reasons why in the lessons learned

## Slide 38: Comparing the Models

## Slide 39: Training Time
Shown here are the training fit times with the best parameters found via gridsearch
Random Forest had a significantly shorter training time

## Slide 40: Accuracy
All the models performed well (0.94-0.97) on the test data
They performed poorly on WJR
KNN yielded a marginally better result in both test datasets

## Slide 41: ROC Curves
All 3 models had similar great performance on the test dataset
With WJR Random Forest yielded a slightly better result than the others
Click to add text
Click to add text
Area under the receiver operating characteristic (ROC) curve

## Slide 42: Conclusion and lessons learned

## Slide 43: Station WJR (Excluded from training)
The low accuracy for WJR (~60%) was due to our incorrect labelling
The model was making correct predictions but did not match the target label

## Slide 44: Conclusions
Given the comparably shorter training time and high accuracy AUROC score Random Forest seems to be the optimal choice
Dimensionality Reduction (PCA was used) greatly reduced the training time
  SVM training without PCA took over 4 hours (before giving up). With PCA it was reduced to 106 minutes (over half the time)
The model performed very well when the test data was for stations that were part of the training but poor for the never-before-seen station (WJR)
  Though this may have been mostly due to the mislabeling

## Slide 45: Lessons Learned
The images are not always reliable at determining the condition of the snow sensor
To ensure the accuracy and reliability of the images we should only use images that are pointing at the sensor
  This would only apply to the Snow On Ground sensor
Correct labeling of the data is critical in producing an accurate model
  If we use observation data to label images, we should ensure the data was valid
  Manual labeling or ML clustering the images could help this
  We may need to re-evaluate the threshold for labeling 'Snow'

## Slide 46: Questions?